## Slide 1
  Sound attenuated training box: Acrylic plastic framework

## Slide 2
35
25
25
Hinge door
25
25
Horizontal gap, 5 mm width and 15 cm length
Horizontal gap, 5 mm width and 15 cm length
35
25
15
35
25
6
punching
5
Circle diameter 5mm
a
b
d
c
Notes: Acrylic plastic outer training box
Unit by centimeter, not including plate thickness
a) Stereo view
b) Right side view
c) Back side view
d) Upper side view

## Slide 3
25
15
15
25
15
Punching
Hole diameter 5 mm
1
1
1
1
1
1
1
1
25
15
6
Punching
15
15
Horizontal gap, 5 mm width and 10 cm length
25
15
10
Horizontal gap, 5 mm width and 10 cm length
a
c
b
e
d
Notes: Acrylic plastic inner training box
Unit by centimeter, not including plate thickness
A) Stereo view, Five –side box, no plate in front side
c) Bottom view
d) Right side view
b) Back side view
E) Upper side view

## Slide 4
25
15
13
5
5.5
5
Punching
Hole diameter 5 mm
0.5
2
4
2
1
1
1
1
1
1
1
1
Punching
Rectangle size 2 cm by 1 cm
2
1
Notes: Acrylic plastic plate, thickness is 5 mm
Unit by centimeter

## Slide 5
35
25
25
合页门
25
25
切割缝, 5 mm 宽，15 cm 长
切割缝, 5 mm 宽，15 cm 长
35
25
15
35
25
6
打孔
5
孔直径5mm
a
b
d
c
Notes: Acrylic plastic outer training box
Unit by centimeter, not including plate thickness
a) Stereo view
b) Right side view
c) Back side view
d) Upper side view

## Slide 6
25
15
15
25
15
打孔
孔直径 5 mm
1
1
1
1
1
1
1
1
25
15
6
打孔
15
15
切割缝, 5 mm 宽，10 cm 长
25
15
10
切割缝, 5 mm 宽，10 cm 长
a
c
b
e
d
Notes: Acrylic plastic inner training box
Unit by centimeter, not including plate thickness
A) Stereo view, Five –side box, no plate in front side
c) Bottom view
d) Right side view
b) Back side view
E) Upper side view

## Slide 7
25
15
13
5
5.5
5
打孔
孔直径 5 mm
0.5
2
4
2
1
1
1
1
1
1
1
1
打孔
矩形尺寸2 cm x 1 cm
2
1
Notes: Acrylic plastic plate, thickness is 5 mm
Unit by centimeter

## Slide 8
  Sound attenuated training box: ventilator, foam, support

## Slide 9
a
b
c
Notes: Install a ventilation fan
Needed ventilation fan and four sets of screw and screw cap
back side view of outer training box after installing a ventilation fan
inside view of outer training box after installing a ventilation fan

## Slide 10
Notes: Attach sound insulation sponge. Insulation sponge thickness is 45 mm.

## Slide 11
a
b
Notes: Install screw and screw cap to acrylic plastic plate.
Needed four sets of screw and screw cap
inside view of inner training box after installing screws and screw caps

## Slide 12
Notes: Attach one screw and four sliding brackets to acrylic plastic plate

## Slide 13
Notes: Place acrylic plastic board to inner training box.

## Slide 14
a
b
c
d
Notes: Install a holder
Needed three screws and two parts of holder (outer and inner)
install one screw to the inside bottom of outer holder
Install one screw to the inside surface of outer holder
install one screw to the inside upper side of inner holder

## Slide 15
Notes: Install holder to acrylic plastic board

## Slide 16
Notes: Insert inner training box into outer training box .

## Slide 17
  Training tube

## Slide 18
a
b
c
Notes: Three-dimensional blue print of training tube.
Front part of training tube
Back part of training tube
Training tube

## Slide 19
a
b
Notes: Assemble a training tube
Needed screw, screw cap, screw plate and three parts of training tube
attach three parts of training tube, install screw, screw plate and screw cap.

## Slide 20
  Motorized water port, odor tube socket

## Slide 21
a
a
b
c
d
e
Notes: Assemble a movable water port
Needed three printed parts of water port, DC motor. Intra gastric needle, iron bar, super glue, two screws, one screw cap and a pair of IR diode
c) insert iron bar into sliding pad
d) e)Insert screw into slide block

## Slide 22
a
b
c
d
Notes: b) Screw the DC motor into sliding block
c) d) assemble sliding pad and sliding block

## Slide 23
a
b
c
Notes: Insert IR diodes into bracket of sliding pad
c) Insert intra gastric needle into holes of sliding block, and insert DC motor into motor bracket.

## Slide 24
  Odor delivery part

## Slide 25
FILTER
V
V
V
V
PUMP
V
M
M
M
V
FLOW METER
MOUSE
M
Manual air flow controller
V
Two-way manual valve
V
Three-way solenoid valve
Odorant bottle
15cm
5cm
15cm
15cm
10cm
10cm